## Submission Data
Press TAB to move to input areas. Press UP or DOWN ARROW in column A to read through the document. | Energy Consumption and Greenhouse Gas Emissions Reporting - for 2011
Confirm consecutive 12-month period (month-year to month-year)
Type of Public Agency (Sector): | Municipal | Please fill in the mandatory fields indicated in red, in addition to submitting data on your energy usage.
Agency Sub-sector | Municipality
Organization Name | County of Oxford
Operation Name and/or Unique Identifier | Operation Type | Address | City | Postal Code | Total Floor Area of the Indoor Space in which Operation is Conducted |  |  | Average # Hours Per Week | Swimming Pool (Y/N) | Number of Portables | Energy Type and Amount Purchased and Consumed in Natural Units | [15 empty] | Total
[7 empty] | Annual Flow (Mega Litres) |  |  |  | Electricity |  | Natural Gas |  | Fuel Oil 1 & 2 | Fuel Oil 4 & 6 | Propane |  | Coal | Wood | District Heating | Renewable? | If Yes, enter Emission Factor | District Cooling | Renewable? | If Yes, enter Emission Factor | GHG Emissions (Kg) | Energy Intensity (ekWh/sqft) | Energy Intensity (GJ/m2) | Energy Intensity (ekWh/Mega Litres) | Energy Intensity (GJ/Mega Litres)
EMS-Carnegie | Ambulance stations and associated offices and facilities | 162 Carnegie Street | Ingersoll | N5C 4A8 | 176 | Square meters |  | 167.98 | FALSE |  | 17956 | kWh | 4072 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 9459.0394 | 32.3209 | 1.2525
EMS-Bysham | Ambulance stations and associated offices and facilities | 208 Bysham Park Drive | Woodstock | N4T 1R2 | 185 | Square meters |  | 167.98 | FALSE |  | 24485 | kWh | 4953 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 11764.7849 | 38.729 | 1.5008
EMS-Norwich | Ambulance stations and associated offices and facilities | 8 Tidey Street | Norwich | N5O 1P0 | 298 | Square meters |  | 167.98 | FALSE |  | 32711 | kWh | 7977 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 18288.518 | 36.6265 | 1.4193
EMS-Tillsonburg | Ambulance stations and associated offices and facilities | 81 King Street | Tillsonburg | N4G 5V1 | 442 | Square meters |  | 167.98 | FALSE |  | 27259 | kWh | 11922 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 25212.5275 | 32.3602 | 1.254
EMS-Mill ST | Ambulance stations and associated offices and facilities | 377 Mill Street | Woodstock | N4S 7V6 | 380 | Square meters |  | 167.98 | FALSE |  | 37120 | kWh | 3131 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 9558.7979 | 17.2099 | 0.66691
Oxford County Administration Building | Administrative offices and related facilities, including municipal council chambers | 21 Reeve Street | Woodstock | N4S 7Y3 | 4923 | Square meters |  | 59.99 | FALSE |  | 1144333 | kWh | 63818 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 232846.4412 | 34.3931 | 1.3328
Registry Office | Administrative offices and related facilities, including municipal council chambers | 75 Graham Street | Woodstock | N4S 6J8 | 734 | Square meters |  | 44.99 | FALSE |  | 74322 | kWh | 8144 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 22683.7952 | 20.3614 | 0.78903
POA Court Office | Administrative offices and related facilities, including municipal council chambers | 419 Hunter Street | Woodstock | N4S 4G5 | 493 | Square meters |  | 44.99 | FALSE |  | 2153 | kWh | 11185 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 21357.7431 | 22.8057 | 0.88375
Facilities Services Shop | Administrative offices and related facilities, including municipal council chambers | 12 Vine Street | Beachville | N0J 1A0 | 379 | Square meters |  | 44.99 | FALSE |  | 42577 | kWh | 16610 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 35577.5635 | 53.7066 | 2.0812
Public Health and Emergency Services | Administrative offices and related facilities, including municipal council chambers | 410 Buller Street | Woodstock | N4S 4N2 | 1284 | Square meters |  | 53.99 | FALSE |  | 284832 | kWh | 10522 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 47818.1066 | 28.699 | 1.1121
Health Unit | Ambulance stations and associated offices and facilities | 93 Graham Street | Woodstock | N4S 6J8 | 918 | Square meters |  | 44.99 | FALSE |  | 68818 | kWh | 152333 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 294751.7995 | 170.8004 | 6.6187
Library-Norwich Public Library | Public libraries | 10 Tidey Street | Norwich | N0J 1P0 | 774 | Square meters |  | 40.98 | FALSE |  | 76631 | kWh | 3378 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 13899.4412 | 13.5067 | 0.5234
Library-Thamesford Public Library | Public libraries | 165 Dundas Street | Thamesford | N0M 2M0 | 353 | Square meters |  | 40.98 | FALSE |  | 62443 | kWh | 772 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 7581.4758 | 18.5925 | 0.72049
Library-Otterville Public Library | Public libraries | 212218 Main Street West Oxford Road 19 | Otterville | N0J 1R0 | 298 | Square meters |  | 40.98 | FALSE |  | 14404 | kWh | 4381 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 9695.005 | 19.0053 | 0.73648
Library-Tavistock Public Library | Public libraries | 40 Woodstock Street South | Tavistock | N0B 2R0 | 323 | Square meters |  | 40.98 | FALSE |  | 17797 | kWh | 436 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 2569.1313 | 6.4514 | 0.25
WWTP-Drumbo | Facilities related to the treatment of sewage | 93 Peterson Street | Drumbo | N0J 1G0 |  |  | 103.004 | 167.98 | FALSE |  | 217472 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 21320.9549 |  |  | 7.6007 | 2111.2966
WWTP-Ingersoll | Facilities related to the treatment of sewage | 56 George Johnson Boulvard | Ingersoll | N5C 3H8 |  |  | 2815.122 | 167.98 | FALSE |  | 1306530 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 128092.2012 |  |  | 1.6708 | 464.1113
WWTP-Mount Elgin | Facilities related to the treatment of sewage | 324021 Mount Elgin Road | Mount Elgin | N0J 1N0 |  |  | 6.712 | 167.98 | FALSE |  | 26366 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 2584.9226 |  |  | 14.1415 | 3928.1883
WWTP-Tillsonburg | Facilities related to the treatment of sewage | 21 Van Street | Tillsonburg | N4G 2M8 |  |  | 2323.963 | 167.98 | FALSE |  | 140749 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 13799.032 |  |  | 0.21803 | 60.5642
WWTP-Woodstock | Facilities related to the treatment of sewage | 195 Admiral Street | Woodstock | N4S 5A2 |  |  | 8743.358 | 167.98 | FALSE |  | 3179988 | kWh | 169771 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 632739.6599 |  |  | 2.0522 | 570.0643
SPS-Drumbo Main | Facilities related to the pumping of sewage | 98 Oxford Street West | Drumbo | N0J 1G0 |  |  | 93.41 | 167.98 | FALSE |  | 23964 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 2349.4306 |  |  | 0.92357 | 256.5464
SPS-Drumbo East | Facilities related to the pumping of sewage | 807115 Oxford Road 29 | Drumbo | N0J 1G0 |  |  | 31.162 | 167.98 | FALSE |  | 44214 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 4334.7406 |  |  | 5.1078 | 1418.8435
SPS-Drumbo North | Facilities related to the pumping of sewage | 135 Wilmot Street North | Drumbo | N0J 1G0 |  |  | 37.016 | 167.98 | FALSE |  | 12809 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 1255.7944 |  |  | 1.2457 | 346.0396
SPS-Ingersoll | Facilities related to the pumping of sewage | 51 Carnegie Street | Ingersoll | N5C 1K8 |  |  | 64.616 | 167.98 | FALSE |  | 6209 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 608.7304 |  |  | 0.34593 | 96.0908
SPS-Ingersoll | Facilities related to the pumping of sewage | 10 Samnah Drive | Ingersoll | N5C 3J7 |  |  | 25.488 | 167.98 | FALSE |  | 47540 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 4660.8216 |  |  | 6.7147 | 1865.1915
SPS-Norwich | Facilities related to the pumping of sewage | 8 Sutton Street | Norwich | N0J 1P0 |  |  | 423.099 | 167.98 | FALSE |  | 102289 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 10028.4136 |  |  | 0.87034 | 241.7614
SPS-Norwich | Facilities related to the pumping of sewage | 44 Lossing Drive | Norwich | N0J 1P0 |  |  | 15.196 | 167.98 | FALSE |  | 4095 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 401.4738 |  |  | 0.97012 | 269.4788
SPS-Plattsville | Facilities related to the pumping of sewage | 15 Fennell Street North | Plattsville | N0J 1S0 |  |  | 185.408 | 167.98 | FALSE |  | 60889 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 5969.5576 |  |  | 1.1823 | 328.4055
SPS-Tavistock | Facilities related to the pumping of sewage | 381 William Street Unit C | Tavistock | N0B 2R0 |  |  | 63.941 | 167.98 | FALSE |  | 6385 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 625.9854 |  |  | 0.35949 | 99.8577
SPS-Thamesford | Facilities related to the pumping of sewage | 250 Allen Street | Thamesford | N0M 2M0 |  |  | 74.682 | 167.98 | FALSE |  | 201783 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 19782.8053 |  |  | 9.7268 | 2701.896
SPS-Tillsonburg | Facilities related to the pumping of sewage | 156 Vienna Road | Tillsonburg | N4G 3C8 |  |  | 25.5528 | 167.98 | FALSE |  | 1543 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 151.2757 |  |  | 0.21739 | 60.3848
SPS-Woodstock | Facilities related to the pumping of sewage | 61 Brickpond Lane | Woodstock | N4V 1G1 |  |  | 26.914 | 167.98 | FALSE |  | 2420 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 237.2568 |  |  | 0.3237 | 89.916
SPS-Commerce Way | Facilities related to the pumping of sewage | 441 Beards Lane | Woodstock | N4S 7W3 |  |  | 11.176 | 167.98 | FALSE |  | 13898 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 1362.5599 |  |  | 4.4768 | 1243.5576
SPS-Woodstock East | Facilities related to the pumping of sewage | 715064 Oxford Road 4 | Woodstock | N4S 7V9 |  |  | 513.584 | 167.98 | FALSE |  | 212067 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 20791.0487 |  |  | 1.4865 | 412.9159
WTF- Beachville | Facilities related to the treatment of water | 434706 West Hill Line | Beachville | N0J 1A0 |  |  | 17.621 | 167.98 | FALSE |  | 35010 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 3432.3804 |  |  | 7.1526 | 1986.8339
WTF- Bright | Facilities related to the pumping of water | 56 Wilson Street | Bright | N0J 1B0 |  |  | 30.739 | 167.98 | FALSE |  | 31680 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 3105.9072 |  |  | 3.7102 | 1030.6126
WTF- Brownsville | Fire stations and associated offices and facilities | 292197 Culloden Line | Brownsville | N0L 1C0 | 78 | Square meters |  | 167.98 | FALSE |  | 49750 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 4877.49 | 59.2535 | 2.2962
WTF- Dereham Centre | Facilities related to the treatment of water | 312894 Dereham Line | Dereham Centre | N0J 1N0 |  |  | 3.539 | 167.98 | FALSE |  | 20239 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 1984.2316 |  |  | 20.5878 | 5718.8471
WTF- Drumbo | Facilities related to the treatment of water | 35 Station Road | Drumbo | N0J 1G0 |  |  | 70.944 | 167.98 | FALSE |  | 215606 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 21138.0122 |  |  | 10.9408 | 3039.1013
WTF- Embro | Facilities related to the treatment of water | 117 Elgin Street | Drumbo | N0J 1J0 |  |  | 66.528 | 167.98 | FALSE |  | 159035 | kWh | 427 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 16399.0891 |  |  | 8.8514 | 2458.71
WTF- Ingersoll | Facilities related to the treatment of water | 195 Merritt Street | Ingersoll | N5C 3A4 |  |  | 350.89 | 167.98 | FALSE |  | 378600 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 37117.944 |  |  | 3.8843 | 1078.9706
WTF- Ingersoll | Facilities related to the treatment of water | 280 Harris Street | Ingersoll | N5C 0A5 |  |  | 391.688 | 167.98 | FALSE |  | 330746 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 32426.3378 |  |  | 3.0399 | 844.4119
WTF- Ingersoll | Facilities related to the pumping of water | 440 Thomas Street | Ingersoll | N5C 3J7 |  |  | 0.0001 | 167.98 | FALSE |  | 20437 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 2003.6435 |  |  | 735731.9941 | 204370000
WTF- Ingersoll | Facilities related to the treatment of water | 334581 33rd Line | Ingersoll | N5C 3J5 |  |  | 131.26 | 167.98 | FALSE |  | 150508 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 14755.8043 |  |  | 4.1279 | 1146.6403
WTF- Ingersoll | Facilities related to the treatment of water | 5 Thompson Road | Ingersoll | N5C 3J7 |  |  | 1072.961 | 167.98 | FALSE |  | 507002 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 49706.4761 |  |  | 1.7011 | 472.526
WTF- Innerkip | Facilities related to the treatment of water | 715572 Oxford Road #4 | Innerkip | N0J 1M0 |  |  | 91.87 | 167.98 | FALSE |  | 117150 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 11485.386 |  |  | 4.5906 | 1275.1714
WTF- Lakeside | Facilities related to the treatment of water | 923278 Road 92 | Lakeside | N0M 2G0 |  |  | 16.397 | 167.98 | FALSE |  | 37259 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 3652.8724 |  |  | 8.1803 | 2272.3059
WTF- Mount Elgin | Fire stations and associated offices and facilities | 333271 Plank Line | Mount. Elgin | N0J 1N0 | 50 | Square meters |  | 167.98 | FALSE |  | 65222 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 6394.3649 | 121.1825 | 4.696
WTF- Norwich | Facilities related to the treatment of water | 11 Front Street | Norwich | N0J 1P0 |  |  | 224.942 | 167.98 | FALSE |  | 256075 | kWh | 4264 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 33167.2265 |  |  | 4.8235 | 1339.8647
WTF- Otterville | Facilities related to the treatment of water | 225687 Otterville Road | Otterville | N0J 1R0 |  |  | 44.851 | 167.98 | FALSE |  | 43243 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 4239.5437 |  |  | 3.4709 | 964.148
WTF- Plattsville | Facilities related to the treatment of water | 926689 Township Road 13 | Plattsville | N0J 1S0 |  |  | 175.485 | 167.98 | FALSE |  | 106333 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 10424.8873 |  |  | 2.1814 | 605.9378
WTF- Springford | Facilities related to the treatment of water | 592611 Oxford Road 13 | Springford | N0J 1X0 |  |  | 0.0001 | 167.98 | FALSE |  | 69608 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 6824.3683 |  |  | 2505887.98 | 696080000
WTF- Thamesford | Facilities related to the treatment of water | 202 Stanely Street North | Thamesford | N0M 2M0 |  |  | 690.375 | 167.98 | FALSE |  | 550551 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 53976.02 |  |  | 2.8709 | 797.4666
WTF- Tillsonburg | Facilities related to the treatment of water | 332415 Plank Line | Tillsonburg | N4G 4H1 |  |  | 74.825 | 167.98 | FALSE |  | 108762 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 10663.0265 |  |  | 5.2328 | 1453.5516
WTF- Tillsonburg | Facilities related to the treatment of water | 1266 Bell Mill Side Road | Tillsonburg | N4S 7Y3 |  |  | 195.665 | 167.98 | FALSE |  | 69701 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 6833.486 |  |  | 1.2824 | 356.2262
WTF- Tillsonburg | Facilities related to the treatment of water | 165 Rokeby Side Road | Tillsonburg | N4G 5Y1 |  |  | 67.964 | 167.98 | FALSE |  | 46041 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 4513.8596 |  |  | 2.4388 | 677.4322
WTF- Woodstock | Facilities related to the treatment of water | 221 Victoria Street South | Woodstock | N4S 3K3 |  |  | 266.901 | 167.98 | FALSE |  | 923983 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 90587.2933 |  |  | 12.4628 | 3461.8941
WTF- Woodstock | Facilities related to the treatment of water | 651 Sutherland Drive | Woodstock | N4S 4Y5 |  |  | 172 | 167.98 | FALSE |  | 148130 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 14522.6652 |  |  | 3.1004 | 861.2209
WTF- Woodstock | Facilities related to the treatment of water | 655 Athlone Avenue | Woodstock | N4S 7Y3 |  |  | 0.0001 | 167.98 | FALSE |  | 11933 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 1169.9113 |  |  | 429587.9966 | 119330000
SPS-Embro | Facilities related to the pumping of sewage | 375734 37th Line | Embro | N0J 1J0 |  |  | 3.455 | 167.98 | FALSE |  | 4370 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 428.4348 |  |  | 4.5534 | 1264.8336
SPS-Tavistock | Facilities related to the pumping of sewage | 216 Hope Street | Tavistock | N0B 2R0 |  |  | 170.557 | 167.98 | FALSE |  | 36694 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 3597.4798 |  |  | 0.77451 | 215.1422
SPS-Tavisock | Facilities related to the pumping of sewage | 227 William Street South | Tavistock | N0B 2R0 |  |  | 424.218 | 167.98 | FALSE |  | 70328 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 6894.9571 |  |  | 0.59682 | 165.7827
WTF- Ingersoll | Facilities related to the treatment of water | 253387 Meatheral Road | Ingersoll | N5C 3J7 |  |  | 436.838 | 167.98 | FALSE |  | 413280 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 40517.9712 |  |  | 3.4059 | 946.0715
SPS-Norwich South | Facilities related to the pumping of sewage | Duffrin Street | South Norwich | N0J 1P0 |  |  | 10.111 | 167.98 | FALSE |  | 3314 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 324.9046 |  |  | 1.1799 | 327.7618
WTF- Woodstock | Facilities related to the treatment of water | 484907 Sweaburg Road | Woodstock | N4S 7V6 |  |  | 4990.851 | 167.98 | FALSE |  | 1187827 | kWh | 9555 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 134519.5001 |  |  | 0.93005 | 258.3478
SPS-Woodstock | Facilities related to the pumping of sewage | 800 Lansdowne Avenue | Woodstock | N4S 7V9 |  |  | 0.535 | 167.98 | FALSE |  | 12602 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 1235.5001 |  |  | 84.7985 | 23555.1402
WTF- Bright | Facilities related to the treatment of water | 72 Cuthbertson Street | Bright | N0J 1B0 |  |  | 30.739 | 167.98 | FALSE |  | 25331 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 2483.4512 |  |  | 2.9666 | 824.0671
WTF- Tillsonburg | Facilities related to the treatment of water | 124749 Mall Road | Tillsonburg | N4G 2S4 |  |  | 495.122 | 167.98 | FALSE |  | 392042 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 38435.7977 |  |  | 2.8505 | 791.8089
WTF- Hickson | Facilities related to the treatment of water | 531 John Street | Hickson | N0J 1L0 |  |  | 8.21 | 167.98 | FALSE |  | 27927 | kWh | [9 empty] | FALSE |  |  | FALSE |  | 2737.9631 |  |  | 12.2457 | 3401.5834
WY- Woodstock | Storage facilities where equipment or vehicles are maintained, repaired or stored | 515165 11th Line | Woodstock | N4S 7V7 | 690 | Square meters |  | 50 | FALSE |  | 52280 | kWh | 22081 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 46872.466 | 38.6346 | 1.4971
WY- Embro | Storage facilities where equipment or vehicles are maintained, repaired or stored | 884135 Road 88 | Embro | N0J 1J0 | 731 | Square meters |  | 50 | FALSE |  | 50251.1262 | kWh |  |  |  |  | 23335.6379 | Litre |  |  |  | FALSE |  |  | FALSE |  | 40956.4719 | 27.2363 | 1.0554
WY- Embro | Ambulance stations and associated offices and facilities | 884135 Road 88 | Embro | N0J 1J0 | 125 | Square meters |  | 50 | FALSE |  | 8592.8738 | kWh |  |  |  |  | 3990.3621 | Litre |  |  |  | FALSE |  |  | FALSE |  | 7003.5007 | 27.2363 | 1.0554
WY- Springford | Storage facilities where equipment or vehicles are maintained, repaired or stored | 432594 Zenda Line | Springford | N0J 1X0 | 818 | Square meters |  | 50 | FALSE |  | 47064 | kWh | 20407 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 43196.1797 | 29.9762 | 1.1616
WY- Drumbo | Storage facilities where equipment or vehicles are maintained, repaired or stored | 895939 Oxford Road 3 | Drumbo | N0J 1G0 | 555 | Square meters |  | 50 | FALSE |  | 57983.5252 | kWh | 13108.3813 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 30467.7644 | 33.025 | 1.2798
WY- Drumbo | Ambulance stations and associated offices and facilities | 895939 Oxford Road 3 | Drumbo | N0J 1G0 | 140 | Square meters |  | 50 | FALSE |  | 14626.4748 | kWh | 3306.6187 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 7685.5622 | 33.025 | 1.2798
Oxford County Court House | Administrative offices and related facilities, including municipal council chambers | 415 Hunter Street | Woodstock | N4S 4G6 | 3459 | Square meters |  | 50 | FALSE |  | 324043 | kWh | 45000 | Cubic meter | [7 empty] | FALSE |  |  | FALSE |  | 116847.3907 | 21.5476 | 0.835

## Lookup (hidden)
Operation Type | Total Floor Area |  | Electricity |  | Fuel Oil |  | Natural Gas |  | Propane |  | Coal |  | Wood |  | District Heat |  | District Cool |  | Renewable1 | Renewable2
School | Square feet | 1 | kWh | 1 | Litre | 1 | Cubic meter | 1 | Litre | 1 | Metric tonne | 1 | Metric tonne | 1 | metric tonne - steam | 1 | Giga Joule - chilled water | 1 | Yes | Yes
Administrative offices and related facilities | Square meters | 0.0929 |  |  |  |  | Giga Joule | 26.1369 | [6 empty] | Giga Joule - steam or hot water | 0.42918 | kilolitre – chilled water | 0.02788 | No | No
Parking garages | [6 empty] | ekWh | 0.09409 | [6 empty] | kilolitre – hot water | 0.04485
Energy Type | Unit of Measure | eKwh | GJ | k GHG
Electricity | kWh | 1 | 0.0036 | 0.08
Fuel Oil 1 & 2 | litre | 10.7778 | 0.0388 | 2.7274
Fuel Oil 4 & 6 | litre | 11.8056 | 0.0425 | 3.145
Natural Gas | cubic meter | 10.6278 | 0.03826 | 1.8906
Propane | litre | 7.0306 | 0.02531 | 1.544
Coal | metric tonne | 7063.8889 | 25.43 | 2631.2
Wood | metric tonne | 5000 | 18 | 848.09
District Heating | metric tonne - Steam | 647.2222 | 2.33 | 138.676
District Heating | GJ - Steam or Hot Water | 277.7778 | 1 | 59.5176
District Heating | kilolitre - Hot Water | 29.0278 | 0.1045 | 6.383
District Cooling | GJ - Chilled Water | 84.175 | 0.30303 | 11.0387
District Cooling | kilolitre- Chilled Water | 2.3467 | 0.008448 | 0.30774
Natural Gas | Giga Joule | 277.7778 | 1 | 49.4152
Natural Gas | ekWh | 1 | 0.0036 | 0.17789
GHG Emissions (Kg)
Energy Intensity (ekWh/sqft)
Energy Intensity (GJ/m2)
GHG Intensity (Kg/Mega Litres)
GHG Intensity (GJ/Mega Litres)
Energy Intensity (ekWh/sqft)
Energy Intensity (GJ/m2)
Energy Intensity (ekWh/Mega Litres)
Energy Intensity (GJ/Mega Litres)