## Read First
Please read the following instructions before completing the Template
1. Does the format in which the data is pasted into the Excel template matter?
Yes, the format in which the data is pasted into the template does matter. Please check the following before uploading your data to the portal:
• That the data is pasted into the correct fields
• That the units used are the same as the ones available in the pull-down options. Please note: the dropdown fields are case sensitive
• That the pasted data does not contain any embedded formulas
• Row 9 of the Excel Template is an example row only and will not be included in your benchmarked data. Please DO NOT delete this example row or any of the rows above this.
You will receive an error message if data is pasted into the wrong column or with formulas, or pasted units are not the same as the ones available in the pull-down menus.
2. Why are the units of measurement that I entered into the excel template invalid?
Users must select the unit of measurement in the template from the pull down options. Any custom units entered will be considered invalid.
3. Why do the totals for GHG Emissions and Energy Intensity not calculate automatically on the excel template?
The GHG Emissions and Energy Intensity values will calculate automatically once you have completed the data validation process. You do not need to finalize the data for these values to calculate. After the data validation process, you can download the spreadsheet with GHG Emissions and Energy Intensity data via the “Excel template” button on the reporting portal.
Note: that there are no macros functions in this year’s templates.
NOTE: Please DO NOT close the browser window during the downloading / uploading of the data. DO NOT move away from the page or close the browser.
Should you have any additional questions, please visit the Toolkit located on the reporting portal under the “Toolkit” tab on the homepage.
Otherwise, please feel free to contact us at BPSSupport@ontario.ca

## Submission Data
Press TAB to move to input areas. Press UP or DOWN ARROW in column A to read through the document. | Energy Consumption and Greenhouse Gas Emissions Reporting - for 2012 | [34 empty] | FloorArea | Electricity | NaturalGas | FuelOil12 | FuelOil46 | Propane | Coal | Wood | DistrictHeating | DistrictCooling | Renewable | operation Type | Administrative offices and related facilities, including municipal council chambers | Public libraries | Cultural facilities | Indoor recreational facilities | Community centres | Art galleries | Performing arts facilities | Auditoriums | Indoor sports arenas | Indoor ice rinks | Indoor swimming pools | Gyms and indoor courts for playing tennis, basketball or other sports | Ambulance stations and associated offices and facilities | Fire stations and associated offices and facilities | Police stations and associated offices and facilities | Storage facilities where equipment or vehicles are maintained, repaired or stored | Parking garages | Facilities related to the treatment of water | Facilities related to the treatment of sewage | Facilities related to the pumping of water | Facilities related to the pumping of sewage | Other
Confirm consecutive 12-mth period (mth-yr to mth-yr) | 2012 | [34 empty] | Square feet | kWh | Cubic Meter | Litre | Litre | Litre | Metric Tonne | Metric Tonne | Metric Tonne | Giga Joule | Yes
Sector | Municipal | [34 empty] | Square meters |  | Giga Joule | [5 empty] | Giga Joule | KL Chilled Water | No
Agency Sub-sector | County and others | [36 empty] | ekWh | [5 empty] | KL Hot Water
Organization Name | County of Oxford | Please fill in the mandatory fields indicated in red, in addition to submitting data on your energy usage.
Operation Name | Operation Type | Address | City | Postal Code | Total Floor Area | Unit | Avg hrs/wk | Annual Flow (Mega Litres) | Energy Type and Amount Purchased and Consumed in Natural Units | [21 empty] | Total (calculated in webform)
[9 empty] | Electricity |  | Natural Gas |  | Fuel Oil 1 & 2 |  | Fuel Oil 4 & 6 |  | Propane |  | Coal |  | Wood |  | District Heating |  |  |  | District Cooling |  |  |  | GHG Emissions (Kg) | Energy Intensity (ekWh/sqft) | Energy Intensity (ekWh/Mega Litre) | Building / Operation Identifier | Comments
[9 empty] | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Quantity | Unit | Renewable? | If Yes, enter Emission Factor | Quantity | Unit | Renewable? | If Yes, enter Emission Factor
Stephenson Building | Administrative offices and related facilities, including municipal council chambers | 2160 Yonge Street | Toronto | M7A 2G5 | 135034 | Square meters | 70 | 23516.0022 | 2181065 | kWh | 125300 | Cubic meter |  | Litre |  | Litre |  | Litre |  | Metric Tonne |  | Metric Tonne | 26.73 | Giga Joule | No | 0 | 20.506 | Giga Joule | No | 0 |  |  |  |  | max. 255 characters
CAS | Administrative offices and related facilities, including municipal council chambers | 92 Light Street | Woodstock | N4S 7Y3 | 1278 | Square meters | 40 | 0 | 36965 | kWh | 1474 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 6336.9028 | 3.8259 | 0
Early Years | Administrative offices and related facilities, including municipal council chambers | 21 Market Square | Woodstock | N4S 7Y3 | 198 | Square meters | 40 | 0 | 23914 | kWh | 9330 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 19936.2505 | 57.7459 | 0
EMS - Carnegie | Ambulance stations and associated offices and facilities | 162 Carnegis Street, Ingersoll | Ingersoll | N5C 4A8 | 176 | Square meters | 168 | 0 | 16931 | kWh | 4368 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 9884.312 | 33.4415 | 0
EMS-Bysham | Ambulance stations and associated offices and facilities | 208 Bysham Park Drive, Woodstock | Woodstock | N4T 1R2 | 185 | Square meters | 168 | 0 | 24280 | kWh | 3929 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 9760.1247 | 33.1621 | 0
EMS-Mill St | Ambulance stations and associated offices and facilities | 377 Mill Street, Woodstock | Woodstock | N4S 7V6 | 380 | Square meters | 168 | 0 | 26195 | kWh | 3619 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 9357.9469 | 15.8074 | 0
EMS-Norwich | Ambulance stations and associated offices and facilities | 6 Tidey Street, Norwich | Norwich | N5O 1P0 | 298 | Square meters | 168 | 0 | 25798 | kWh | 6218 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 14233.5586 | 28.6445 | 0
EMS-Tillsonburg | Ambulance stations and associated offices and facilities | 81 King Street, Tillsonburg | Tillsonburg | N4G 5V1 | 442 | Square meters | 168 | 0 | 18628 | kWh | 7878 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 16683.3926 | 21.5135 | 0
Facilities Services Shop | Administrative offices and related facilities, including municipal council chambers | 12 Vine Street, Beachville | Beachville | N0J 1A0 | 379 | Square meters | 50 | 0 | 37492 | kWh | 8966 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 20552.0934 | 32.5481 | 0
Health Unit | Administrative offices and related facilities, including municipal council chambers | 93 Graham Street, Woodstock | Woodstock | N4S 6J8 | 918 | Square meters | 50 | 0 | 293292 | kWh | 12150 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 51138.8817 | 42.7495 | 0
Library-Norwich Public Library | Public libraries | 10 Tidey Street, Norwich | Norwich | N0J 1P0 | 774 | Square meters | 50 | 0 | 16735 | kWh | 6218 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 13363.1481 | 9.9407 | 0
Library-Otterville Public Library | Public libraries | 212218 Main Street West/OR 19, Otterville | Otterville | N0J 1R0 | 298 | Square meters | 50 | 0 | 13117 | kWh | 231 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 1696.4915 | 4.8547 | 0
Library-Tavistock Public Library | Public libraries | 40 Woodstock Street S, Tavistock | Tavistock | N0B 2R0 | 323 | Square meters | 50 | 0 | 23198 | kWh | 85 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2388.6392 | 6.9322 | 0
Library-Thamesford Public Library | Public libraries | 165 Dundas Street, Thamesford | Thamesford | N0M 2M0 | 353 | Square meters | 50 | 0 | 39021 | kWh | 3863 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 11051.0689 | 21.0745 | 0
Odour Control Embro | Facilities related to the treatment of sewage | 515165 11th Line | Woodstock | N4S 7V7 | 0 |  | 168 | 0.1 | 45280 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 4348.6912 | 0 | 452800
Odour Control Innerkip | Facilities related to the treatment of sewage | 74228 Oxford Road 17 | Innerkip | N0J 1G0 | 0 |  | 168 | 0.1 | 30214 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2901.7526 | 0 | 302140
Oxford County Administration Building | Administrative offices and related facilities, including municipal council chambers | 21 Reeve Street, Woodstock | Woodstock | N4S 7Y3 | 4923 | Square meters | 50 | 0 | 977414 | kWh | 51320 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 190897.8182 | 28.7377 | 0
Oxford County Court House | Administrative offices and related facilities, including municipal council chambers | 415 Hunter Street, Woodstock | Woodstock | N4S 4G6 | 3459 | Square meters | 50 | 0 | 280352 | kWh | 43605 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 109365.7964 | 19.9766 | 0
POA Court House | Administrative offices and related facilities, including municipal council chambers | 419 Hunter Street, Woodstock | Woodstock | N4S 4G5 | 493 | Square meters | 50 | 0 | 32579 | kWh | 9557 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 21197.6094 | 25.2795 | 0
Public Health and Emergency Service | Administrative offices and related facilities, including municipal council chambers | 410 Buller Street, Woodstock | Woodstock | N4S 4N2 | 1284 | Square meters | 50 | 0 | 271707 | kWh | 8941 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 42998.8363 | 26.5345 | 0
Registry Office | Administrative offices and related facilities, including municipal council chambers | 75 Graham Street, Woodstock | Woodstock | N4S 6J8 | 734 | Square meters | 50 | 0 | 31400 | kWh | 8798 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 19649.3923 | 15.8091 | 0
SPS - Embro East | Facilities related to the pumping of sewage | 152 Commissioners Road | Embro | N0J 1G0 | 21 | Square meters | 168 | 2.2 | 3963.91 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 380.6939 | 17.5361 | 1801.7773
SPS - Embro West | Facilities related to the pumping of sewage | 19.5 Commissioners Road | Embro | N0J 1G0 | 21 | Square meters | 168 | 1.6 | 18000 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 1728.72 | 79.6311 | 11250
SPS - Ingersoll Verspeeten | Facilities related to the pumping of sewage | 274129 Wallace Line | Ingersoll | N0J 1G0 | 40 | Square meters | 168 | 1.8 | 21677 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2081.8591 | 50.3465 | 12042.7778
SPS - Innerkip Main | Facilities related to the pumping of sewage | 77 Main Street | Innerkip | N0J 1G0 | 48 | Square meters | 168 | 59.4 | 47567 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 4568.3347 | 92.0649 | 800.7912
SPS - Innerkip Queen | Facilities related to the pumping of sewage | 756 Queen | Innerkip | N0J 1G0 | 21 | Square meters | 168 | 11.3 | 1670 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 160.3868 | 7.388 | 147.7876
SPS - Innerkip Young | Facilities related to the pumping of sewage | Young Street | Innerkip | N0J 1G0 | 21 | Square meters | 168 | 1.7 | 2145 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 206.0058 | 9.4894 | 1261.7647
SPS - Thamesford | Facilities related to the pumping of sewage | 202 Stanley | Innerkip | N0J 1G0 | 21 | Square meters | 168 | 55.6 | 45715 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 4390.4686 | 202.241 | 822.2122
SPS-Commerce Way | Facilities related to the pumping of sewage | 441 Beards Lane | Woodstock | N4S 7W3 | 16 | Square meters | 168 | 11.4 | 11470 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 1101.5788 | 66.5998 | 1006.1404
SPS-Drumbo East | Facilities related to the pumping of sewage | 807115 Oxford Road 29 | Drumbo | N0J 1J0 | 24 | Square meters | 168 | 19.2 | 32301 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 3102.188 | 125.0358 | 1682.3438
SPS-Drumbo Main | Facilities related to the pumping of sewage | 98 Oxford Street West | Drumbo | N0J 1J0 | 48 | Square meters | 168 | 70 | 16127 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 1548.8371 | 31.2135 | 230.3857
SPS-Drumbo North | Facilities related to the pumping of sewage | 135 Wilmot Street North | Drumbo | N0J 1J0 | 24 | Square meters | 168 | 27.9 | 11346 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 1089.6698 | 43.9199 | 406.6667
SPS-Embro | Facilities related to the pumping of sewage | 375734 37th Line, Embro | Embro | N0J 1J0 | 48 | Square meters | 168 | 49.7 | 43938 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 4219.8055 | 85.0411 | 884.0644
SPS-Ingersoll | Facilities related to the pumping of sewage | 10 Samnah Drive | Ingersoll | N5C 3J7 | 10 | Square meters | 168 | 22.1 | 5208 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 500.1763 | 48.3839 | 235.6561
SPS-Ingersoll | Facilities related to the pumping of sewage | 51 Carnegie Street | Ingersoll | N5C 1K8 | 24 | Square meters | 168 | 66.8 | 6316 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 606.5886 | 24.449 | 94.5509
SPS-Norwich | Facilities related to the pumping of sewage | 8 Sutton Street | Norwich | N0J 1J0 | 91 | Square meters | 168 | 321.2 | 72259 | kWh | 82448 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 162818.1693 | 968.333 | 2952.9824
SPS-Norwich | Facilities related to the pumping of sewage | 44 Lossing Drive | Norwich | N0J 1P0 | 10 | Square meters | 168 | 15.5 | 4282 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 411.2433 | 39.7811 | 276.2581
SPS-Norwich South | Facilities related to the pumping of sewage | Duffrin Street, Norwich | Norwich | N0J 1P0 | 48 | Square meters | 168 | 11 | 2807 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 269.5843 | 5.4329 | 255.1818
SPS-Plattsville | Facilities related to the pumping of sewage | 15 Fennell Street North | Plattsville | N0J 1S0 | 20 | Square meters | 168 | 169.3 | 53979 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 5184.1432 | 250.7406 | 318.8364
SPS-Tavistock | Facilities related to the pumping of sewage | 227 William Street South | Tavistock | N0B 2R0 | 27 | Square meters | 168 | 371.6 | 46690 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 4484.1076 | 160.6534 | 125.6459
SPS-Tavistock | Facilities related to the pumping of sewage | 216 Hope Street | Tavistock | N0B 2R0 | 25 | Square meters | 168 | 106.4 | 24319 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2335.5968 | 90.3723 | 228.562
SPS-Tavistock | Facilities related to the pumping of sewage | 381 William Street Unit C | Tavistock | N0B 2R0 | 27 | Square meters | 168 | 140.5 | 90330 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 8675.2932 | 310.8121 | 642.9181
SPS-Thamesford | Facilities related to the pumping of sewage | 250 Allen Street | Thamesford | N0M 2M0 | 10 | Square meters | 168 | 68.1 | 220751 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 21200.926 | 2050.843 | 3241.5712
SPS-Tillsonburg | Facilities related to the pumping of sewage | 156 Vienna Road | Tillsonburg | N4G 3C8 | 10 | Square meters | 168 | 7.8 | 480 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 46.0992 | 4.4593 | 61.5385
SPS-Woodstock | Facilities related to the pumping of sewage | 800 Lansdowne Avenue | Woodstock | N4S 7V9 | 10 | Square meters | 168 | 0.8 | 9415 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 904.2166 | 87.4682 | 11768.75
SPS-Woodstock | Facilities related to the pumping of sewage | 61 Brickpond Lane | Woodstock | N4V 1G1 | 10 | Square meters | 168 | 24 | 10581 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 1016.1992 | 98.3007 | 440.875
SPS-Woodstock East | Facilities related to the pumping of sewage | 715064 Oxford Road 4 | Woodstock | N4S 7V9 | 117 | Square meters | 168 | 707.1 | 306816 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 29466.6086 | 243.625 | 433.9075
Water Operations Centre | Storage facilities where equipment or vehicles are maintained, repaired or stored | 59 George Johnson | Ingersoll | N0J 1G0 | 557 | Square meters | 50 | 0 | 33470 | kWh | 14485 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 30600.1909 | 31.259 | 0
WTF - Norwich (main) | Facilities related to the pumping of water | 325864 Norwich Road | Norwich | N0J 1G0 | 46 | Square meters | 168 | 39.4 | 49107 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 4716.2363 | 99.178 | 1246.3706
WTF - Princeton | Facilities related to the treatment of water | 71 Cowan Street | Princeton | N0J 1G0 | 31 | Square meters | 168 | 1.2 | 2125 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 204.085 | 6.3684 | 1770.8333
WTF - Tavistock | Facilities related to the treatment of water | 18 Hendershot Street | Tavistock | N0J 1G0 | 234 | Square meters | 168 | 480 | 4288 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 411.8195 | 1.7024 | 8.9333
WTF - Tillsonburg | Facilities related to the pumping of water | 1332 Bell Mill Side Road | Tillsonburg | N0J 1G0 | 12 | Square meters | 168 | 689.3 | 534616 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 51344.5206 | 4138.9525 | 775.5926 |  | Is 1266 Bell Mill Side Rd
WTF - Tillsonburg (Fairview) | Facilities related to the pumping of water | 58 Langrell Avenue | Tillsonburg | N0J 1G0 | 153 | Square meters | 168 | 536.2 | 80005 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 7683.6802 | 48.5798 | 149.2074
WTF - Woodstock, Nellis | Facilities related to the pumping of water | 1235 Nellis St | Woodstock | N0J 1G0 | 160 | Square meters | 168 | 1290.2 | 348228 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 33443.8171 | 202.1964 | 269.9023
WTF-Beachville | Facilities related to the pumping of water | 434706 West Hill Line | Beachville | N0J 1A0 | 55 | Square meters | 168 | 15.8 | 37489 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 3600.4436 | 63.3244 | 2372.7215
WTF-Bright | Facilities related to the pumping of water | 56 Wilson Street | Bright | N0J 1B0 | 52 | Square meters | 168 | 33.8 | 31144 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2991.0698 | 55.6418 | 921.4201
WTF-Bright | Facilities related to the pumping of water | 72 Cuthbertson Street | Bright | N0J 1B0 | 35 | Square meters | 168 | 33768 | 25685 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2466.7874 | 68.1775 | 0.76063
WTF-Brownsville | Facilities related to the pumping of water | 292197 Culloden Line | Bright | N0L 1C0 | 78 | Square meters | 168 | 32.3 | 62631 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 6015.0812 | 74.5975 | 1939.0402
WTF-Dereham Centre | Facilities related to the pumping of water | 312894 Dereham Line | Dereham Centre | N0J 1N0 | 40 | Square meters | 168 | 4.3 | 18750 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 1800.75 | 43.5483 | 4360.4651
WTF-Drumbo | Facilities related to the treatment of water | 35 Station Road | Drumbo | N0J 1G0 | 72 | Square meters | 45 | 88.1 | 222682 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 21386.3793 | 287.3309 | 2527.605
WTF-Embro | Facilities related to the pumping of water | 117 Elgin Street | Brownsville | N0J 1J0 | 90 | Square meters | 168 | 100.7 | 212085 | kWh | 383 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 21092.7535 | 223.1277 | 2146.5287
WTF-Hickson | Facilities related to the pumping of water | 531 John Street | Hickson | N0J 1L0 | 56 | Square meters | 168 | 8.6 | 22230 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2134.9692 | 36.8792 | 2584.8837
WTF-Ingersoll | Facilities related to the pumping of water | 440 Thomas Street | Ingersoll | N5C 3J7 | 47 | Square meters | 168 | 2283 | 34215 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 3286.0086 | 67.6314 | 14.9869 |  | Offline in 2012
WTF-Ingersoll | Facilities related to the pumping of water | 334581 33rd Line | Ingersoll | N5C 3J5 | 113 | Square meters | 168 | 128.9 | 184680 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 17736.6672 | 151.8347 | 1432.7386
WTF-Ingersoll | Facilities related to the pumping of water | 5 Thompson Road | Ingersoll | N5C 3J7 | 61 | Square meters | 168 | 1080.2 | 566687 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 54424.6195 | 863.0643 | 524.613
WTF-Ingersoll | Facilities related to the pumping of water | 253387 Meatheral Road | Ingersoll | N5C 3J7 | 74 | Square meters | 168 | 357.7 | 350353 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 33647.9021 | 439.8493 | 979.4604
WTF-Ingersoll | Facilities related to the pumping of water | 195 Merritt Street | Ingersoll | N5C 3A4 | 183 | Square meters | 168 | 240.4 | 308656 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 29643.3222 | 156.6944 | 1283.9268
WTF-Ingersoll | Facilities related to the pumping of water | 280 Harris Street | Ingersoll | N5C 0A5 | 120 | Square meters | 168 | 476.3 | 351598 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 33767.4719 | 272.2042 | 738.186
WTF-Innerkip | Facilities related to the pumping of water | 715572 Oxford Road #4 | Innerkip | N0J 1M0 | 88 | Square meters | 168 | 130.9 | 111909 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 10747.7404 | 118.1441 | 854.9198
WTF-Lakeside | Facilities related to the pumping of water | 923278 Road 92 | Lakeside | N0M 2G0 | 49 | Square meters | 168 | 17.6 | 37933 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 3643.0853 | 71.9202 | 2155.2841
WTF-Mount Elgin | Facilities related to the pumping of water | 333271 Plank Line | Mount Elgin | N0J 1N0 | 50 | Square meters | 168 | 38.6 | 57320 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 5505.0128 | 106.504 | 1484.9741
WTF-Norwich | Facilities related to the pumping of water | 11 Front Street | Norwich | N0J 1P0 | 21 | Square meters | 168 | 247.4 | 51166 | kWh | 6932 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 18019.809 | 552.2763 | 504.5988
WTF-Otterville | Facilities related to the pumping of water | 225687 Otterville Road | Otterville | N0J 1R0 | 58 | Square meters | 168 | 123 | 28303 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2718.2201 | 45.3351 | 230.1057
WTF-Plattsville | Facilities related to the pumping of water | 926689 Township Road 13 | Plattsville | N0J 1S0 | 36 | Square meters | 168 | 184 | 88198 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 8470.5359 | 227.6072 | 479.337
WTF-Springford | Facilities related to the pumping of water | 592611 Oxford Road 13 | Springford | N0J 1X0 | 26 | Square meters | 168 | 28.6 | 33181 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 3186.7032 | 118.5621 | 1160.1748
WTF-Thamesford | Facilities related to the treatment of water | 202 Stanely Street North | Thamesford | N0M 2M0 | 205 | Square meters | 168 | 708.6 | 868583 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 83418.7113 | 393.6291 | 1225.7734
WTF-Tillsonburg | Facilities related to the pumping of water | 124749 Mall Road | Tillsonburg | N0J 1G0 | 200 | Square meters | 168 | 553 | 75000 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 7203 | 34.8386 | 135.6239
WTF-Tillsonburg | Facilities related to the pumping of water | 165 Rokeby Side Road | Tillsonburg | N4G 5Y1 | 23 | Square meters | 168 | 87.6 | 56544 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 5430.4858 | 228.396 | 645.4795
WTF-Tillsonburg | Facilities related to the pumping of water | 332415 Plank Line | Tillsonburg | N4G 4H1 | 32 | Square meters | 168 | 20.8 | 66176 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 6355.543 | 192.1234 | 3181.5385
WTF-Tillsonburg | Facilities related to the pumping of water | 1266 Bell Mill Side Road | Tillsonburg | N4S 7Y3 | 12 | Square meters | 168 | 689.3 | 84830 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 8147.0732 | 656.7468 | 123.0669
WTF-Woodstock | Facilities related to the pumping of water | 655 Athlone Avenue | Woodstock | N4S 7Y3 | 18 | Square meters | 168 | 505.1 | 11499 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 1104.364 | 59.3495 | 22.7658
WTF-Woodstock | Facilities related to the pumping of water | 651 Sutherland Drive | Woodstock | N4S 4Y5 | 105 | Square meters | 168 | 217.7 | 176330 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 16934.7332 | 156.0151 | 809.9678
WTF-Woodstock | Facilities related to the pumping of water | 484981 Sweaburg Road | Woodstock | N4S 7V6 | 678 | Square meters | 168 | 5023.7 | 1132142 | kWh | 7393 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 122708.3231 | 165.8981 | 241.0003
WTF-Woodstock | Facilities related to the pumping of water | 221 Victoria Street South | Woodstock | N4S 3K3 | 597 | Square meters | 168 | 217.7 | 930364 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 89352.1586 | 144.7799 | 4273.6059
WWTP - Norwich | Facilities related to the treatment of sewage | Lot 7, Concession 5 | Norwich | N0J 1G0 | 126 | Square meters | 168 | 331.4 | 30663 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2944.8745 | 22.6086 | 92.5256
WWTP - Plattsville | Facilities related to the treatment of sewage | 906853 Township Road 12 | Plattsville | N0J 1G0 | 88 | Square meters | 168 | 169.3 | 520557 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 49994.2943 | 549.5603 | 3074.7608
WWTP - Tavistock | Facilities related to the treatment of sewage | 381 William Street S Unit 2 | Tavistock | N0J 1G0 | 126 | Square meters | 168 | 556.8 | 1296160 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 124483.2064 | 955.6917 | 2327.8736
WWTP - Thamesford | Facilities related to the treatment of sewage | 10 Middleton Street | Thamesford | N0J 1G0 | 160 | Square meters | 168 | 546.3 | 2146150 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 206116.246 | 1246.1486 | 3928.5191
WWTP-Drumbo | Facilities related to the treatment of sewage | 93 Peterson Street | Drumbo | N0J 1G0 | 44 | Square meters | 168 | 91.6 | 28520 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2739.0608 | 60.218 | 311.3537
WWTP-Ingersoll | Facilities related to the treatment of sewage | 56 George Johnson Boulvard | Drumbo | N5C 3H8 | 371 | Square meters | 168 | 2485.8 | 1445411 | kWh | 14485 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 166203.0045 | 400.4982 | 643.3962
WWTP-Mount Elgin | Facilities related to the treatment of sewage | 324021 Mount Elgin Road | Ingersoll | N0J 1N0 | 10 | Square meters | 168 | 11.5 | 29714 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 2853.7326 | 276.052 | 2583.8261
WWTP-Tillsonburg | Facilities related to the treatment of sewage | 21 Van Street | Tillsonburg | N4G 2M8 | 393 | Square meters | 168 | 2027.9 | 1694497 | kWh | 7129 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 176217.7718 | 418.4801 | 872.9535
WWTP-Woodstock | Facilities related to the treatment of sewage | 195 Admiral Street | Woodstock | N4S 5A2 | 1644 | Square meters | 168 | 7271.5 | 3335112 | kWh | 138629 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 582399.8869 | 271.726 | 661.2707
WY-Drumbo | Storage facilities where equipment or vehicles are maintained, repaired or stored | 895939 Oxford Road 3 | Drumbo | N0J 1G0 | 555 | Square meters | 40 | 0 | 49830 | kWh | 11983 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 27441.0565 | 29.6591 | 0
WY-Embro | Storage facilities where equipment or vehicles are maintained, repaired or stored | 884135 Road 88 | Embro | N0J 1J0 | 731 | Square meters | 40 | 0 | 53846 | kWh | 0 | Cubic Meter | 0 | Litre | 0 | Litre | 30876.1 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 52750.9459 | 34.4316 | 0
WY-Springford | Storage facilities where equipment or vehicles are maintained, repaired or stored | 432594 Zenda Line | Springford | N0J 1X0 | 818 | Square meters | 40 | 0 | 45907 | kWh | 15848 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 34371.565 | 24.3429 | 0
WY-Woodstock | Storage facilities where equipment or vehicles are maintained, repaired or stored | 515165 11th Line | Woodstock | N4S 7V7 | 690 | Square meters | 40 | 0 | 41480 | kWh | 17117 | Cubic Meter | 0 | Litre | 0 | Litre | 0 | Litre | 0 | Metric Tonne | 0 | Metric Tonne | 0 | Giga Joule | No | 0 | 0 | Giga Joule | No | 0 | 36345.6016 | 30.0784 | 0